1
2
3
4
5
6
7
8
9
1
0
1
1
1
2
1
3
1
4
1
5
1
6
A
A
Base Unit
Spray unit
Compressed
air intake
Connector
SYS
IOC
Ethernet
 transceiver
24V/12V
supply
E
T
H
12V/3V
CPU
supply
B
B
Bottle
exhaust
Speaker
Boot &
serial
console
Pressure
&
temp AD
AC'97
audio
Erbium Module
Spray unit
Hybrid
cable
Spray
water
PWM
timers
Valve
drive
C
C
U
S
B
Spray
air
GUI
Pump
DA
Pump
drive
USB
controller
Touch
screen
controller
D
D
Laser head
Fan
Cooling water
CAN
Fan
PWM
Radiator
I/O
LVDS
bridge
CAN
transceiver
LVDS
monitor
Flow
sensor
Pump
Temp. sensors
FSW filter
&
decoder
Tacho
sensors
Pilot
driver
Backlight
driver
E
E
GPIO
&
PWM
Energy
meter
Laser
stop
Door
switch
Safety HW loop
Diode
 AD
F
F
Left bundle
Flash lamp HV drive
EC20
Right bundle
Secondary safety switch
Handpiece
LASER READY
G
Diode Module
Peltier
cooler
Main PWM switch
Cooling water
G
DL
Power
supply
Patient
H
24V power
HV
&
trigger
unit
PFC
&
power supply
Operator
Laser
diode
H
Optical
 fiber
Spray air
Spray water
Cooling water
HV
HV pulse & simmer voltage
Mains
CAN bus
Composite foot switch
Safety HW loop
Operator's UI
Diode
driver
J
Handpiece
CAN
CPU & CAN
interface
&
J
CAN bus
K
&
Safety HW loop
Foot switch active
K
Diode energy supervise
L
L
SkyPulse
System Architecture
V
o
d
.
p
r
o
j
e
k
t
.
I
z
d
a
j
a
J.Žabkar
2
N
a
z
i
v
/
I
t
e
m
I
d
e
n
t
/
P
a
r
t
N
o
.
:
P
r
o
j
.
m
a
n
a
g
.
E
d
i
t
i
o
n
M.Močnik
P
r
o
j
e
k
t
i
r
a
l
Š
t
.
o
b
v
.
D
e
s
i
g
n
e
r
M
o
d
i
f
.
N
o
.
M
M
M.Močnik
K
o
n
s
t
r
u
i
r
a
l
D
a
t
u
m
5.12.2017
D
e
t
a
i
l
e
r
D
a
t
e
A
r
h
i
v
/
F
i
l
e
M
e
r
i
l
o
/
S
c
a
l
e
L
i
s
t
/
S
h
e
e
t
P.Prinčič
T
e
h
n
o
l
o
g
P
o
d
p
i
s
T
e
c
h
n
o
l
.
S
i
g
n
e
d
1
2
3
4
5
6
7
8
9
1
0
1
1
1
2
1
3
1
4
1
5
1
6
Foot
switch
F
o
t
o
n
a
V
s
e
p
r
a
v
i
c
e
p
r
i
d
r
ž
a
n
e
!
/
A
l
l
r
i
g
h
t
s
r
e
s
e
r
v
e
d
.
K
F
0
4
-
0
1
-
1
4
V
e
r
.
2
Spray out
Laser out
Laser out