SkyPulse modules
SYS
DL
EC20
Energy
meter
CAN bus
Interface
CAN
interface
Serial
console
Application
File
System
CAN
parser
CLI
parser
HW drivers
Spray control
loop
Error Control
loop
IOC hardware
Footswitch
interface
IOC hardware
Pump
Fans
Flow sensor
LED strips
Spray interface
Valves
Pressure sensors
HW security loop
Interface
Emergency push
Doorswitch
System errors

---
to / from
 CAN & console
parser
HW emergency loop
HW sensor stack & interface
Energy
meter
debounce filter
status decoder
serial data
I/O
serial link
Footswitch
I/O
Doorswitch
Error control loop
Pump
consumption
meter
A/D
I/O
UI status
Pump tacho
counter
Pump
status
I/O
Emergency
switch
D/A
Pump
enable
Pump
I/O
Crowbar
On/off
A/D
Overheat
check
Fan & pump
Speed
regulator
Temperature
sensor
I/O
Crowbar
switch
PWM
Cooling
fan
Fan tacho
counter
A/D
EC20
Diode
Diode energy
control
Fan
status
I/O
Flow tacho
counter
Input air
Pressure
status
Flow
status
Flow
sensor
I/O
Spray sensor stack & interface
A/D
Air inlet
pressure
sensor
Spray sensor stack & interface
I/O
Water
outlet
valve
Spray control loop
A/D
A/D
A/D
Air outlet
pressure
sensor
Air
pressure
regulator
Bottle
pressure
regulator
Bottle
pressure
sensor
Air
valve
PWM
I/O
Bottle air
In/out
valves